## Slide 1: Microneedle patches for dermal drug delivery and bioanalytical applications
1
Keng Wooi Ng PhD School of Pharmacy, Newcastle University
keng.ng@newcastle.ac.uk
@ngkengwooi
blogs.ncl.ac.uk/kengng
nanoLAB Lunchtime Seminar | Newcastle University | 28 March 2018

## Slide 2: Objectives
Overview of microneedle patch technology
Challenges & opportunities (C&O’s)
Collaborations
  Technology refinement
  New applications

## Slide 3: Microneedle patch
Ng et al. Drug Deliv Transl Res, 2015

## Slide 4: Applications
Biomarkers
Skin barrier
Drug delivery
Diagnostics
Ng et al. Vaccine, 2009
Drugs
Advantages:
Minimally invasive (painless, bloodless)
Accurate tissue targeting

## Slide 5: Immunodiagnostics: Principle
Microneedle-based ELISA (‘MELISA’)
Miniaturised quantitative immunoassay
Based on sandwich ELISA
Antigen capture
Capture antibody
Microneedle
Antigen detection
Signal
Antigen
Detection antibody + enzyme conjugate
Chromogenic substrate solution

## Slide 6: Immunodiagnostics: proof of principle method 1
Ng et al. Drug Deliv Transl Res, 2015
Problems:
Signal dilution
Matrix effect
C&O:
Novel analytical platform development

## Slide 7: Immunodiagnostics: proof of principle method 2
Binary classification test Qualitative (biomarker detected, or not)
2D signal generated at microneedle tip only ~ skin depth
Concentrates signal
Paper-based, facile, low-cost

## Slide 8: Immunodiagnostics: proof of principle method 2
Multiplex detection Simultaneously analyse multiple biomarkers
Incorporate experimental controls
Quantification?
C&O:
Quantify, digitise, 2D  3D

## Slide 9: Immunodiagnostics: future directions
Current time to result: 3–5 hours from skin insertion
Can we make it real time?
In situ measurement – electrochemistry
Vitamin C – NOT immuno
C&O:
Novel analytical platform development (lab on a chip)
Clinical applications

## Slide 10: Summary & discussion
Minimally invasive microneedle technology
Accurate targeting of epidermal and dermal tissue
Drug delivery and bioanalytical applications
Challenges (opportunities) in bioanalytical applications:
  Microfabrication
  Signal quantification
  Real-time detection
  Device validation
  Lab on a chip
Keng Wooi Ng
keng.ng@newcastle.ac.uk
@ngkengwooi
blogs.ncl.ac.uk/kengng