| Analyst Air Monitoring Site Audit |  |
| --- | --- |
| Company Name |  |
| Analyst Name |  |
| Removal Job details |  |
| Date |  |

| Microscope |  |  |  |
| --- | --- | --- | --- |
| Microscope Type |  | Calibration Date |  |

| Microscope Accessories |  |  |  |
| --- | --- | --- | --- |
| Phase Telescope |  | Lens Cleaning Material |  |
| Spare Bulbs |  | Adjustment Tools |  |

| Air Sampling Pumps |  |
| --- | --- |
| Static Pumps (Present, labelled, adequate number) |  |
| Personal Pumps (Present, labelled, adequate number) |  |

| Additional Equipment - All electrical equipment must be PAT tested and labelled |  |  |  |
| --- | --- | --- | --- |
| Acetone Vaporiser (labelled) |  | Tweezers |  |
| Tally Counters (labelled) |  | Filters (blank checked) |  |
| Coverslips |  | Microscope Slides |  |
| Slide Storage Box |  | Wet Wipes |  |

| Other Calibrated Equipment |  |
| --- | --- |
| Timepiece (Record calibration date) |  |
| NPL Test Slide (Condition) |  |
| Stage Micrometer (Record calibration) |  |
| High flow Rotameter Calibration dates |  |
| Low flow Rotameter Calibration dates |  |

| Paperwork |  |  |  |
| --- | --- | --- | --- |
| HSG248 present on site |  | Company Quality Manual |  |
| Risk Assessment |  | Method Statement |  |

| Pre start checks |  |
| --- | --- |
| Enclosure Checks Complete and Documented |  |
| Contractor Equipment Checked and Recorded |  |
| Training, medicals and face fits checked and recorded |  |

| Smoke Test |  |
| --- | --- |
| Smoke test witnessed and documented |  |

| Air monitoring |  |
| --- | --- |
| Background Air Monitoring Completed |  |
| Leak Air Monitoring Completed |  |
| Personal Monitoring Completed |  |
| Site diary with adequate detail completed detailing checks on waste/transit routes and enclosure |  |
| Air monitoring on DCU where required (weekly) |  |

| Protective Equipment and Individual |  |  |  |
| --- | --- | --- | --- |
| Operative Clean Shaven? |  | Disposable Overalls |  |
| Overshoes |  | Torch |  |
| Brush |  | Mirror |  |

| Adequate Respirator to undertake Work |  |
| --- | --- |

Comments:

Audit Completed By_______________________	__________________________________________