High Voltage Limitation of Access Permit

This form must be used for all work requiring access to high voltage substations and other areas where high voltage equipment is installed. (Note: except in circumstances were an Authorised Person is carrying out the work and using their own permit to work system)

| Issued to |  | Name: |  |  |  |  |  |  | Organisation: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location |  | Substation/Plant Area: |  |  |  |  |  |  | Building: |  |  |
| Exact details of work to be carried out |  |  |  |  |  |  |  |  |  |  |  |
| Risk Assessments Received |  | Yes |  |  | No (work must not proceed) |  |  | Attach Risk Assessment |  |  |  |
| Remarks/Instructions Given |  |  |  |  |  |  |  |  |  |  |  |
| Date of entry : |  | Issue Time: |  |  |  | Expiry time: |  |  |  |  |  |
| Maintenance Officer Name |  |  |  |  |  | Signature |  |  |  |  |  |
| Part B Receipt |  |  |  |  |  |  |  |  |  |  |  |
| I hereby declare that I accept responsibility for carrying out work in accordance with this limitation of access permit, that I have a risk assessment and that all instruction received will be complied with, and that no work other than that detailed above will be carried by me or by persons in my charge. |  |  |  |  |  |  |  |  |  |  |  |
| Name: (print) |  |  | Sign Name |  |  |  | Position |  |  |  | Date |

| CO2/Fire Suppression has been isolated and locked off | Yes | No | N/A |
| --- | --- | --- | --- |

| Part C: Clearance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| I hereby declare that all work for which this Limitation of Access Permit was issued is now suspended/complete and that all persons in my charge have been withdrawn from the area and the keys have been returned to the person that issued them to me |  |  |  |  |  |  |
| Name: (print) | Sign Name |  | Position |  |  | Date |
| Part D: Cancellation |  |  |  |  |  |  |
| I hereby declare that this Limitation of Access Permit is cancelled. I have received the keys back and no further work shall be done. |  |  |  |  |  |  |
| Name: (print) | Sign Name |  | Position |  |  | Date |
| CO2/Fire Suppression has been reinstated |  | Yes |  | No | N/A |  |

Permit to Work Procedure

This permit must only be issued by ESS employees authorised to do so, please ensure all necessary details are completed

- Access the ESS Health and Safety Web Pages and locate the permit required.

- Download the form and complete it electronically before printing one copy off so it can be signed.

- 1 x copy of the permit (signed) is given to the person requesting the permit to work and must available at the work location.

- 1 x copy of the permit (electronic) must be emailed to the Customer Services and Administration (CSA) on permittowork@ncl.ac.uk who will enter the details from the permit on to the Permit to Work data base. CSA will also advise you of any other permits operating in the area.

- Once work is complete the signed copy of the permit must be returned to the ESS person responsible for the work who will then request CSA to remove details of the permit from the data base. The signed copy of the permit must then be forwarded to CSA where it will be held on file.

Useful Numbers

Security Emergency 		0191 2226666

Fire Safety Officer 		0191 2228127

Health and Safety 		0191 2226847

Estate Support Service 	0191 2227171

In the event of fire raise the alarm by activating the nearest live call point and leave the building by the nearest exit, once safe telephone the fire brigade and the Emergency Security number above

Access to High Voltage Areas Safe System of Work – Only to be used when accessing high voltage areas to carry out a survey

| Building Name |  |  |  | Location |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Description of the activity to be carried out | Only designated electrically competent persons may access area where high voltage equipment is installed Surveying/inspecting are the only activities permitted using this form, all other work requires the use of the permit. |  |  |  |  |  |  |  |
| Names and phone numbers of individuals accessing the HV area | 1 | 2 |  |  |  | 3 |  | 4 |
|  | Phone No | Phone No |  |  |  | Phone No |  | Phone No |
| Name of individual (buddy) monitoring the safety of persons accessing the area |  | Telephone number of buddy |  |  |  | Phone No |  |  |
| Date | / /20 | Time | : |  |  | Anticipated time of exit from the roof | : |  |
| Names of Individuals Exiting the area | 1 | 2 |  |  |  | 3 | 4 |  |
| Closing Form | Signature of person monitoring safety | Actual time persons exited the area |  |  |  | Date form is closed : | Time form is closed: |  |

Procedure

- This form must be completed by all personnel planning to access areas where high voltage equipment is installed

- The completed form must be given to an ESS employee (buddy) who will be asked to monitor the safety of the persons accessing the area

- Persons accessing the area must advise their buddy when all parties have left the area, the form will then be closed and filed.

Emergency Procedures

In the event that the individual monitoring safety does not hear from the persons that have accessed the area  by the anticipated exit time (above) they must:

1.	Attempt to contact the persons using their mobile phone

2.	Dispatch a competent member of staff to the area to investigate.

3.	Inform an ESS Manager/Security Control (out of hours)